## Report
ABR Peer Review sheet (2020) | [12 empty] | Standard | Agree | Reason | ScnOut | NICU | Transducer | Outcome | Discuss | Quality | Action | Category | Admin | Parmeters | Recording_Quality | Display | Interpretation | Strategy | CM
For Tester Use | Site/Dept |  | Comments from tester re background / results / plans for further tests etc. (Do not exceed cell width) | [9 empty] | Yes | Yes | Select Reason | Select Screen Outcome | Select | Select Transducer | Select Outcome | Select | Select Quality | Select Action | Admin | No Case ID | Tone pip incorrect (e.g. not 2:1:2 or Blackman 5-cycle) | Poor choice of rejection level/sweeps | Display aspect ratio outside recommended range | Not replicated at levels defining the threshold | Use objective measurements to inform choice of sweeps | Waveforms (each polarity) must be replicated but were not
| Tester | [11 empty] | No | No | Newborn screen referral | NCR bilateral | Yes | Insert / Pips | Discharge | Yes | OK | OK/None | Parameters | Incomplete date/age/background info | Rep rate not optimal | Excessive electrical noise apparent | Display aspect ratio not optimal for these waveforms | Labelled CR but is inconclusive | Inefficient choice of stimulus levels | Click ABR at same level needed for interpretation
| Case ID | [13 empty] | Atresia | NCR unilateral L | No | Insert / Chirps | Discharge with F/U | No | Improvement indicators | ABR repeat | Recording_Quality | Incomplete future strategy info | Exceeded max level with inserts | Other - Recording Quality | Incorrect superposition of waveforms | Labelled CR but is RA | BC would be helpful | Display issue compromises interpretation
| Reason for test | Select Reason | [12 empty] | Meningitis | NCR unilateral R |  | TDH / Pips | Further ABR |  | Poor/Unsatisfactory | Review at 8m | Display | Incomplete intended management info | Time window not optimal |  | CR/RA/Inc not marked at each level (depends on local policy) | Labelled CR but not replicated at the threshold level | Other frequencies would be helpful | Rejection level not optimal / more sweeps needed
| Newborn Screen outcome | Select Screen Outcome | [12 empty] | Professional concern | CR bilateral |  | TDH / Chirps | F/U at 8m |  |  | Other | Interpretation | Other - Admin | Insufficient sweeps used |  | To many tests displayed on one page (no official rule) | Labelled RA but is inconclusive | Clicks would be helpful | CM test not done when needed or done unnecessarily
| Date of test (dd/mm/yyyy) | [13 empty] | Parental concern | No screen |  |  | PCHI management |  |  |  | Strategy |  | Filters not optimal |  | Patient identifying details not removed from printout | Labelled RA but is CR | Unnecessary replication at levels not defining threshold | No run with tube clamped when CM looks present
| Corrected Age at test (weeks) | [13 empty] | Other high risk | [7 empty] | CM |  | Gain/artefact reject level not optimal |  | Other - Display | Labelled RA but does not meet RA criteria | Too many Inc traces at different levels | CM Interpretation doubtful
| Over 48 hr in NICU/SCBU - yes/no | Select | [22 empty] | Notch filter used but not justified |  |  | Labelled inconclusive but is CR | Many thresholds <= | Other - CM
| ABR AC Transducer / Stim Type | Select Transducer | [22 empty] | Blocking period or appearance inappropriate |  |  | Labelled inconclusive but is RA | Blocked stimulus run would help interpretation
| Outcome of ABR/any further action | Select Outcome | [22 empty] | Masking - none or insufficient level when needed |  |  | Threshold recorded as = when should be <= | Only 1 ear tested, without justification
| Date of next appt if any | [23 empty] | Masking - used when not needed or noise level too high |  |  | More than 2 traces overlaid | Lack of gold standard on each ear (AC and/or BC)
| Date sent for review | [23 empty] | Other - Parameters |  |  | Inaccurate or doubtful peak labelling | Gap between CRs that define gold standard threshold is >10dB
For Reviewer use | Reviewer name |  | Comments from Reviewer (Do not exceed cell width; use separate rows) | [24 empty] | nHL to eHL correction incorrect | A further 2 waveforms, added pairwise needed to resolve Inc
[28 empty] | Mismatch between printout and S4H/spreadsheet entry | Discharged but discharge level not reached
[28 empty] | Gold standard reported incorrectly | Should test to lower level (eg in UHL or on BC to define ABG)
| Date review returned to site | [26 empty] | Other - Interpretation | Other - Strategy
| Discussed with tester? yes/no | Select
| ABR quality judgement | Select Quality
| Action required beyond planned? | Select Action
ABR THRESHOLDS in dBnHL |  |  | RIGHT EAR |  |  |  |  | LEFT EAR
|  |  | Air Conduction |  |  |  |  | Air Conduction
Notes: |  |  | 0.5k | 1k | 2k | 4k | Click/CM | 0.5k | 1k | 2k | 4k | Click/CM
Use =, <=, or > prefix |  | tester - result:
If masking was used add (M) after the result e.g. =40(M) |  | Gold standard?
By convention, |  | reviewer - result:
<=50 is taken as 'agreeing within 10dB' with =50 but |  | reviewer - agree within 10dB?
<=55 (or more) is taken as not agreeing with =55 (or more) |  |  | Bone Conduction |  |  |  |  | Bone Conduction
Agree within 10dB also requires agreement with standard |  |  | 0.5k | 1k | 2k | 4k | Click | 0.5k | 1k | 2k | 4k | Click
Gold std requires = some threshold (or <=30eHL AC4kHz) |  | tester - result:
Gold standard?
Reviewer explanations may be added as comments - |  | reviewer - result:
Hover mouse over cells with red corner to view comment |  | reviewer - agree within 10dB?
| Category | Indicator |  |  |  | Details (Do not exceed cell width)
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
General / other Reviewer comments
Number of improvement indicators in each category |  |  | Outcome measures
Admin | 0 |  | thresholds | n agree | n disagree | % agree
Parameters | 0 |  | reviewer | 0 | 0 | #DIV/0!
Recording Quality | 0 |  | No of categories |  |  | 0
Display | 0 |  | No of improvement indicators |  |  | 0
Interpretation | 0
Strategy | 0
CM | 0
Note on B8: Baby's corrected age on date of test in whole weeks (based on normal full term of 40 weeks). Example: Born at 37 weeks, tested at 4 weeks old, corrected age = 37 - 40 + 4 = 1
Note on D2: Use this to note anything of relevence e.g. atresia, restless baby, sedation tymp results, etc.
Note on M24: E.g >85/present
Note on H24: E.g >85/present

## Improvement Indicators
This page lists the available improvement indicators to make finding the one you need easier
Admin | No Case ID | A1
| Incomplete date/age/background info | A2
| Incomplete future strategy info | A3
| Incomplete intended management info | A4
| Other - Admin | A5
Parameters | Tone pip incorrect (e.g. not 2:1:2 or Blackman 5-cycle) | P1
| Rep rate not optimal | P2
| Exceeded max level with inserts | P3
| Time window not optimal | P4
| Insufficient sweeps used | P5
| Filters not optimal | P6
| Gain/artefact reject level not optimal | P7
| Notch filter used but not justified | P8
| Blocking period or appearance inappropriate | P9
| Masking - none or insufficient level when needed | P10
| Masking - used when not needed or noise level too high | P11
| Other - Parameters | P12
Recording_Quality | Poor choice of rejection level/sweeps | Q1
| Excessive electrical noise apparent | Q2
| Other - Recording Quality | Q3
Display | Display aspect ratio outside recommended range | D1
| Display aspect ratio not optimal for these waveforms | D2
| Incorrect superposition of waveforms | D3
| CR/RA/Inc not marked at each level (depends on local policy) | D4
| To many tests displayed on one page (no official rule) | D5
| Patient identifying details not removed from printout | D6
| Other - Display | D7
Interpretation | Not replicated at levels defining the threshold | I1
| Labelled CR but is inconclusive | I2
| Labelled CR but is RA | I3
| Labelled CR but not replicated at the threshold level | I4
| Labelled RA but is inconclusive | I5
| Labelled RA but is CR | I6
| Labelled RA but does not meet RA criteria | I7
| Labelled inconclusive but is CR | I8
| Labelled inconclusive but is RA | I9
| Threshold recorded as = when should be <= | I10
| More than 2 traces overlaid | I11
| Inaccurate or doubtful peak labelling | I12
| nHL to eHL correction incorrect | I13
| Mismatch between printout and S4H/spreadsheet entry | I14
| Gold standard reported incorrectly | I15
| Other - Interpretation | I16
Strategy | Use objective measurements to inform choice of sweeps | T1
| Other frequencies would be helpful | T2
| Clicks would be helpful | T3
| Unnecessary replication at levels not defining threshold | T4
| Too many Inc traces at different levels | T5
| Many thresholds <= | T6
| Blocked stimulus run would help interpretation | T7
| Only 1 ear tested, without justification | T8
| Lack of gold standard on each ear (AC and/or BC) | T9
| Gap between CRs that define gold standard threshold is >10dB | T10
| A further 2 waveforms, added pairwise needed to resolve Inc | T11
| Discharged but discharge level not reached | T12
| Should test to lower level (eg in UHL or on BC to define ABG) | T13
| Other - Strategy | T14
CM | Waveforms (each polarity) must be replicated but were not | C1
| Click ABR at same level needed for interpretation | C2
| Display issue compromises interpretation | C3
| Rejection level not optimal / more sweeps needed | C4
| CM test not done when needed or done unnecessarily | C5
| No run with tube clamped when CM looks present | C6
| CM Interpretation doubtful | C7
| Other - CM | C8

## audit
[6 empty] | Dates |  |  |  |  | Outcome measures |  |  |  |  | Number of improvement indicators in each category | [6 empty] | Improvement Indicators Recorded | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Site | Tester | Reviewer | Case ID | Outcome of ABR/any further action | ABR quality judgement | Date of test (dd/mm/yyyy) | Date test sent for review | Date review returned to site | Days between testing and sending | Days between received and returned to site | Reviewer No. agree | Reviewer No. disagree | Reviewer % agree | No. of categories | No. of improvement indicators | Admin | Parameters | Recording Quality | Display | Interpretation | Strategy | CM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | Indicator | Code | Category | Code
0 | 0 | 0 | 0 | Select Outcome | Select Quality | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[47 empty] | No Case ID | A1 | Admin | A
[47 empty] | Incomplete date/age/background info | A2 | Parameters | S
[47 empty] | Incomplete future strategy info | A3 | Recording_Quality | Q
[47 empty] | Incomplete intended management info | A4 | Display | D
[47 empty] | Other - Admin | A5 | Interpretation | I
[47 empty] | Tone pip incorrect (e.g. not 2:1:2 or Blackman 5-cycle) | P1 | Strategy | T
[47 empty] | Rep rate not optimal | P2 | CM | C
[47 empty] | Exceeded max level with inserts | P3
[47 empty] | Time window not optimal | P4
[47 empty] | Insufficient sweeps used | P5
[47 empty] | Filters not optimal | P6
[47 empty] | Gain/artefact reject level not optimal | P7
[47 empty] | Notch filter used but not justified | P8
[47 empty] | Blocking period or appearance inappropriate | P9
[47 empty] | Masking - none or insufficient level when needed | P10
[47 empty] | Masking - used when not needed or noise level too high | P11
[47 empty] | Other - Parameters | P12
[47 empty] | Poor choice of rejection level/sweeps | Q1
[47 empty] | Excessive electrical noise apparent | Q2
[47 empty] | Other - Recording Quality | Q3
[47 empty] | Display aspect ratio outside recommended range | D1
[47 empty] | Display aspect ratio not optimal for these waveforms | D2
[47 empty] | Incorrect superposition of waveforms | D3
[47 empty] | CR/RA/Inc not marked at each level (depends on local policy) | D4
[47 empty] | To many tests displayed on one page (no official rule) | D5
[47 empty] | Patient identifying details not removed from printout | D6
[47 empty] | Other - Display | D7
[47 empty] | Not replicated at levels defining the threshold | I1
[47 empty] | Labelled CR but is inconclusive | I2
[47 empty] | Labelled CR but is RA | I3
[47 empty] | Labelled CR but not replicated at the threshold level | I4
[47 empty] | Labelled RA but is inconclusive | I5
[47 empty] | Labelled RA but is CR | I6
[47 empty] | Labelled RA but does not meet RA criteria | I7
[47 empty] | Labelled inconclusive but is CR | I8
[47 empty] | Labelled inconclusive but is RA | I9
[47 empty] | Threshold recorded as = when should be <= | I10
[47 empty] | More than 2 traces overlaid | I11
[47 empty] | Inaccurate or doubtful peak labelling | I12
[47 empty] | nHL to eHL correction incorrect | I13
[47 empty] | Mismatch between printout and S4H/spreadsheet entry | I14
[47 empty] | Gold standard reported incorrectly | I15
[47 empty] | Other - Interpretation | I16
[47 empty] | Use objective measurements to inform choice of sweeps | T1
[47 empty] | Other frequencies would be helpful | T2
[47 empty] | Clicks would be helpful | T3
[47 empty] | Unnecessary replication at levels not defining threshold | T4
[47 empty] | Too many Inc traces at different levels | T5
[47 empty] | Many thresholds <= | T6
[47 empty] | Blocked stimulus run would help interpretation | T7
[47 empty] | Only 1 ear tested, without justification | T8
[47 empty] | Lack of gold standard on each ear (AC and/or BC) | T9
[47 empty] | Gap between CRs that define gold standard threshold is >10dB | T10
[47 empty] | A further 2 waveforms, added pairwise needed to resolve Inc | T11
[47 empty] | Discharged but discharge level not reached | T12
[47 empty] | Should test to lower level (eg in UHL or on BC to define ABG) | T13
[47 empty] | Other - Strategy | T14
[47 empty] | Waveforms (each polarity) must be replicated but were not | C1
[47 empty] | Click ABR at same level needed for interpretation | C2
[47 empty] | Display issue compromises interpretation | C3
[47 empty] | Rejection level not optimal / more sweeps needed | C4
[47 empty] | CM test not done when needed or done unnecessarily | C5
[47 empty] | No run with tube clamped when CM looks present | C6
[47 empty] | CM Interpretation doubtful | C7
[47 empty] | Other - CM | C8