## Report
ABR Peer Review sheet (April 2014) | [12 empty] | Standard | Agree | Reason | ScnOut | NICU | Transducer | Outcome | Discuss | Quality | Action | Category | Admin | Parmeters | Recording_Quality | Display | Interpretation | Strategy | CM
For Tester Use | Site/Dept |  | Comments from tester re background / results / plans for further tests etc. (Do not exceed cell width) | [9 empty] | Yes | Yes | Select Reason | Select Screen Outcome | Select | Select Transducer | Select Outcome | Select | Select Quality | Select Action | Admin | No Case ID | Stimulus not Alternating | High number of rejects indicating poor recording conditions | Display aspect ratio outside recommended range | Not replicated at levels defining the threshold | BC would be helpful | Waveforms (each polarity) must be replicated but were not
| Tester | [11 empty] | No | No | Newborn screen referral | NCR bilateral | Yes | Insert / Pips | Discharge | Yes | OK | OK/None | Parameters | Incomplete date/age/background info | Tone pip incorrect (e.g. not 2:1:2) | Low number of rejects suggests reject level was not optimal | Display aspect ratio not optimal for these waveforms | Labelled CR but is inconclusive | Other frequencies would be helpful | Click ABR at same level needed for interpretation
| Case ID | [13 empty] | Atresia | NCR unilateral L | No | Insert / Chirps | Discharge with F/U | No | Improvement indicators | ABR repeat | Recording_Quality | Incomplete future strategy info | Rep rate not optimal | Excessive electrical noise apparent | Incorrect superposition of traces | Labelled CR but is RA | Clicks would be helpful | Display issue compromises interpretation
| Reason for test | [13 empty] | Meningitis | NCR unilateral R |  | TDH / Pips | Further ABR |  | Poor/Unsatisfactory | Review at 8m | Display | Incomplete intended management info | Exceeded max level with inserts | Other - Recording Quality | CR/RA/Inc not clearly marked at each test level | Labelled CR but unreplicated waveform | Unnecessary replication at levels not defining threshold | Rejection level not optimal
| Newborn Screen outcome | Select Screen Outcome | [12 empty] | Professional concern | CR bilateral |  | TDH / Chirps | F/U at 8m |  |  | Other | Interpretation | Other - Admin | Time window not optimal |  | Too many different stimuli displayed on one chart | Labelled RA but is inconclusive | Too many Inc traces at different levels | CM test not done when needed or done unnecessarily
| Date of test (dd/mm/yyyy) | [13 empty] | Parental concern | No screen |  |  | PCHI management |  |  |  | Strategy |  | Low no of sweeps used |  | Patient identifying details not removed from printout | Labelled RA but is CR | Many thresholds <= | No run with tube clamped when CM looks present
| Corrected Age at test (weeks) | [13 empty] | Other high risk | [7 empty] | CM |  | Filters not optimal |  | Other - Display | Labelled RA but unreplicated waveform | Blocked stimulus run would help interpretation | CM Interpretation doubtful
| Over 48 hr in NICU/SCBU - yes/no | Select | [22 empty] | Gain/artefact reject level not optimal |  |  | Labelled inconclusive but is CR | Only 1 ear tested, without justification | Other - CM
| ABR AC Transducer / Stim Type | Select Transducer | [22 empty] | Notch filter used but not justified |  |  | Labelled inconclusive but is RA | Lack of gold standard on each ear (AC and/or BC)
| Outcome of ABR/any further action | Select Outcome | [22 empty] | Blocking period or appearance inappropriate |  |  | Threshold recorded as = when should be <= | Gap between CRs that define gold standard threshold is >10dB
| Date of next appt if any | [23 empty] | Masking - none or insufficient level when needed |  |  | More than 2 traces overlaid | A further 2 waveforms, added pairwise needed to resolve Inc
| Date sent for review | [23 empty] | Masking - on all time |  |  | Inaccurate or doubtful peak labelling | Discharged but discharge level not reached
For Reviewer use | Reviewer name |  | Comments from Reviewer (Do not exceed cell width; use separate rows) | [21 empty] | Other - Parameters |  |  | nHL to eHL correction incorrect | Should test to lower level (eg in UHL or on BC to define ABG)
[28 empty] | Mismatch between chart and eSP/spreadsheet entry | Other - Strategy
Gold standard reported incorrectly
| Date review returned to site | [26 empty] | Other - Interpretation
| Discussed with tester? yes/no | Select
| ABR quality judgement | Select Quality
| Action required beyond planned? | Select Action
ABR THRESHOLDS in dBnHL |  |  | RIGHT EAR |  |  |  |  | LEFT EAR
|  |  | Air Conduction |  |  |  |  | Air Conduction
Notes: |  |  | 0.5k | 1k | 2k | 4k | Click/CM | 0.5k | 1k | 2k | 4k | Click/CM
Use =, <=, or > prefix |  | tester - result:
If masking was used add (M) after the result e.g. =40(M) |  | Gold standard?
By convention, |  | reviewer - result:
<=50 is taken as 'agreeing within 10dB' with =50 but |  | reviewer - agree within 10dB?
<=55 (or more) is taken as not agreeing with =55 (or more) |  |  | Bone Conduction |  |  |  |  | Bone Conduction
Agree within 10dB also requires agreement with standard |  |  | 0.5k | 1k | 2k | 4k | Click | 0.5k | 1k | 2k | 4k | Click
Gold std requires = some threshold (or <=30eHL AC4kHz) |  | tester - result:
Gold standard?
Reviewer explanations may be added as comments - |  | reviewer - result:
Hover mouse over cells with red corner to view comment |  | reviewer - agree within 10dB?
| Category | Indicator |  |  |  | Details (Do not exceed cell width)
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
Improvement indicator
General / other Reviewer comments
Number of improvement indicators in each category |  |  | Outcome measures
Admin | 0 |  | thresholds | n agree | n disagree | % agree
Parameters | 0 |  | reviewer | 0 | 0 | #DIV/0!
Recording Quality | 0 |  | No of categories |  |  | 0
Display | 0 |  | No of improvement indicators |  |  | 0
Interpretation | 0
Strategy | 0
CM | 0
Note on B8: Baby's corrected age on date of test in whole weeks (based on normal full term of 40 weeks). Example: Born at 37 weeks, tested at 4 weeks old, corrected age = 37 - 40 + 4 = 1
Note on D2: Use this to note anything of relevence e.g. atresia, restless baby, sedation tymp results, etc.
Note on H24: E.g >85/present
Note on M24: E.g >85/present

## Improvement Indicators
This page lists the available improvement indicators to make finding the one you need easier
Admin | No Case ID | A1
| Incomplete date/age/background info | A2
| Incomplete future strategy info | A3
| Incomplete intended management info | A4
| Other - Admin | A5
Parameters | Stimulus not Alternating | P1
| Tone pip incorrect (e.g. not 2:1:2) | P2
| Rep rate not optimal | P3
| Exceeded max level with inserts | P4
| Time window not optimal | P5
| Low no of sweeps used | P6
| Filters not optimal | P7
| Gain/artefact reject level not optimal | P8
| Notch filter used but not justified | P9
| Blocking period or appearance inappropriate | P10
| Masking - none or insufficient level when needed | P11
| Masking - on all time | P12
| Other - Parameters | P13
Recording_Quality | High number of rejects indicating poor recording conditions | Q1
| Low number of rejects suggests reject level was not optimal | Q2
| Excessive electrical noise apparent | Q3
| Other - Recording Quality | Q4
Display | Display aspect ratio outside recommended range | D1
| Display aspect ratio not optimal for these waveforms | D2
| Incorrect superposition of traces | D3
| CR/RA/Inc not clearly marked at each test level | D4
| Too many different stimuli displayed on one chart | D5
| Patient identifying details not removed from printout | D6
| Other - Display | D7
Interpretation | Not replicated at levels defining the threshold | I1
| Labelled CR but is inconclusive | I2
| Labelled CR but is RA | I3
| Labelled CR but unreplicated waveform | I4
| Labelled RA but is inconclusive | I5
| Labelled RA but is CR | I6
| Labelled RA but unreplicated waveform | I7
| Labelled inconclusive but is CR | I8
| Labelled inconclusive but is RA | I9
| Threshold recorded as = when should be <= | I10
| More than 2 traces overlaid | I11
| Inaccurate or doubtful peak labelling | I12
| nHL to eHL correction incorrect | I13
| Mismatch between chart and eSP/spreadsheet entry | I14
| Gold standard reported incorrectly | I15
| Other - Interpretation | I16
Strategy | BC would be helpful | T1
| Other frequencies would be helpful | T2
| Clicks would be helpful | T3
| Unnecessary replication at levels not defining threshold | T4
| Too many Inc traces at different levels | T5
| Many thresholds <= | T6
| Blocked stimulus run would help interpretation | T7
| Only 1 ear tested, without justification | T8
| Lack of gold standard on each ear (AC and/or BC) | T9
| Gap between CRs that define gold standard threshold is >10dB | T10
| A further 2 waveforms, added pairwise needed to resolve Inc | T11
| Discharged but discharge level not reached | T12
| Should test to lower level (eg in UHL or on BC to define ABG) | T13
| Other - Strategy | T14
CM | Waveforms (each polarity) must be replicated but were not | C1
| Click ABR at same level needed for interpretation | C2
| Display issue compromises interpretation | C3
| Rejection level not optimal | C4
| CM test not done when needed or done unnecessarily | C5
| No run with tube clamped when CM looks present | C6
| CM Interpretation doubtful | C7
| Other - CM | C8

## audit
|  |  |  | Dates |  |  |  |  | Outcome measures |  |  |  |  | Number of improvement indicators in each category | [6 empty] | Improvement Indicators Recorded | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tester | Reviewer | Case ID | Outcome of ABR/any further action | Date of test (dd/mm/yyyy) | Date test sent for review | Date review returned to site | Days between testing and sending | Days between received and returned to site | Reviewer No. agree | Reviewer No. disagree | Reviewer % agree | No. of categories | No. of improvement indicators | Admin | Parameters | Recording Quality | Display | Interpretation | Strategy | CM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | Indicator | Code | Category | Code
0 | 0 | 0 | Select Outcome | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[45 empty] | No Case ID | A1 | Admin | A
[45 empty] | Incomplete date/age/background info | A2 | Parameters | S
[45 empty] | Incomplete future strategy info | A3 | Recording_Quality | Q
[45 empty] | Incomplete intended management info | A4 | Display | D
[45 empty] | Other - Admin | A5 | Interpretation | I
[45 empty] | Stimulus not Alternating | P1 | Strategy | T
[45 empty] | Tone pip incorrect (e.g. not 2:1:2) | P2 | CM | C
[45 empty] | Rep rate not optimal | P3
[45 empty] | Exceeded max level with inserts | P4
[45 empty] | Time window not optimal | P5
[45 empty] | Low no of sweeps used | P6
[45 empty] | Filters not optimal | P7
[45 empty] | Gain/artefact reject level not optimal | P8
[45 empty] | Notch filter used but not justified | P9
[45 empty] | Blocking period or appearance inappropriate | P10
[45 empty] | Masking - none or insufficient level when needed | P11
[45 empty] | Masking - on all time | P12
[45 empty] | Other - Parameters | P13
[45 empty] | High number of rejects indicating poor recording conditions | Q1
[45 empty] | Low number of rejects suggests reject level was not optimal | Q2
[45 empty] | Excessive electrical noise apparent | Q3
[45 empty] | Other - Recording Quality | Q4
[45 empty] | Display aspect ratio outside recommended range | D1
[45 empty] | Display aspect ratio not optimal for these waveforms | D2
[45 empty] | Incorrect superposition of traces | D3
[45 empty] | CR/RA/Inc not clearly marked at each test level | D4
[45 empty] | Too many different stimuli displayed on one chart | D5
[45 empty] | Patient identifying details not removed from printout | D6
[45 empty] | Other - Display | D7
[45 empty] | Not replicated at levels defining the threshold | I1
[45 empty] | Labelled CR but is inconclusive | I2
[45 empty] | Labelled CR but is RA | I3
[45 empty] | Labelled CR but unreplicated waveform | I4
[45 empty] | Labelled RA but is inconclusive | I5
[45 empty] | Labelled RA but is CR | I6
[45 empty] | Labelled RA but unreplicated waveform | I7
[45 empty] | Labelled inconclusive but is CR | I8
[45 empty] | Labelled inconclusive but is RA | I9
[45 empty] | Threshold recorded as = when should be <= | I10
[45 empty] | More than 2 traces overlaid | I11
[45 empty] | Inaccurate or doubtful peak labelling | I12
[45 empty] | nHL to eHL correction incorrect | I13
[45 empty] | Mismatch between chart and eSP/spreadsheet entry | I14
[45 empty] | Gold standard reported incorrectly | I15
[45 empty] | Other - Interpretation | I16
[45 empty] | BC would be helpful | T1
[45 empty] | Other frequencies would be helpful | T2
[45 empty] | Clicks would be helpful | T3
[45 empty] | Unnecessary replication at levels not defining threshold | T4
[45 empty] | Too many Inc traces at different levels | T5
[45 empty] | Many thresholds <= | T6
[45 empty] | Blocked stimulus run would help interpretation | T7
[45 empty] | Only 1 ear tested, without justification | T8
[45 empty] | Lack of gold standard on each ear (AC and/or BC) | T9
[45 empty] | Gap between CRs that define gold standard threshold is >10dB | T10
[45 empty] | A further 2 waveforms, added pairwise needed to resolve Inc | T11
[45 empty] | Discharged but discharge level not reached | T12
[45 empty] | Should test to lower level (eg in UHL or on BC to define ABG) | T13
[45 empty] | Other - Strategy | T14
[45 empty] | Waveforms (each polarity) must be replicated but were not | C1
[45 empty] | Click ABR at same level needed for interpretation | C2
[45 empty] | Display issue compromises interpretation | C3
[45 empty] | Rejection level not optimal | C4
[45 empty] | CM test not done when needed or done unnecessarily | C5
[45 empty] | No run with tube clamped when CM looks present | C6
[45 empty] | CM Interpretation doubtful | C7
[45 empty] | Other - CM | C8